1.) Area-oriented data (square meters, kilometers, meters, square feet) comes from Google Earth Pro metadata in the “measurements” section by right-clicking a polygon, and right clicking Properties.

2.) The Panel Area is calculated by multiplying the Parking Lot Area by the Total Covered Area (e.g. 22247 x 0.80 = 1777.97.6).

3.) Panel Efficiency comes from the hypothetical that N-type panels are being used. These panels have a 21% base cell efficiency based on CleanEnergyReviews’ article on different solar panel types.

4.) System Losses are calculated based on data from SolarSME’s data on the loss percentage on key causes of system losses among different panels. As this project focuses on N-type back face solar panels, the key cause of energy loss is shading, with an assumed 12.05% energy loss.

5.) The temperature coefficient is determined by how, according to JoinSun, N-type panels have temperature coefficients of -0.24% - 0.32%. In the case of this project, -0.25% is used.

6.) The total sun hours per month are calculated from Solar Story. Its data comes from NREL.gov.

Formula for calculating solar irradiance for each parking lot.

- Panel Area is calculated by multiplying Parking Lot Area m²  by the hypothetical total 80% (area covered in solar panels).

(e.g. 36659 x 0.80 = 29327.2 in total covered area)

- The total energy generated in a day is calculated by taking the total covered area by the panel efficiency.

(e.g. 29327.2 x 0.20 = 5865.44)

- After the temperature coefficient is taken into consideration, the result is:

5865.44 x 0.25 = 1466.36 kWh/day.

- After this, the total amount of solar energy captured after accounting for system losses, it appears as:

(1466.36 x 12.05% = 176.69638 kWh/day)

- Finally, the total amount of sunlight hours per month is multiplied by the previous result. For January, this is:
(176.69638 x 3.77 hrs = 666.145)

- Afterwards, take into account the total amount of days in the month. For January, this appears as:

(666.145 x 31 = 20650.505)